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	Annex F1/14 to the Certificate No. 494-8
SCOPE of ACCREDITATION

of the

Standard Chemical Laboratory of Southern Greece

of the 
SECTION SES MEGALOPOLIS 5
of the

 PPC S.A.




	Tested materials and products
	Types of test/ Properties to be  measured
	Applied standards/ Techniques to be used

	Chemical testing

	Solid mineral fuel

	Determination of moisture
	ASTM D 7582-2024

	
	determination of total carbon,hydrogen,nitrogen and sulphur
	In house method (EASF) based on 

ISO 29541:2025
ISO 15178:2000

	
	determination of gross and net calorific value
	ISO 1928:2025

	
	determination of proximate analysis
	ASTM D 7582-2024

	
	determination of residual fuel in ash sample (bottom or fly)
	ASTM D 7582-2024

	limestone aggregates 
	Determination of moisture content by drying
	ASTM C 566-19

	limestone aggregates
	determination of carbon dioxide
	ΕLΟΤ ΕΝ 12485:2017


	Tested materials and products
	Types of test/ Properties to be  measured
	Applied standards/ Techniques to be used

	Liquid fuels


	1.determination of water content
	ASTM D 6304 - 25

	
	2.determination of total carbon, hydrogen, nitrogen and sulphur
	ASTM D 5291 - 21 
ASTM D 5623 - 24

	
	3.determination of gross and net calorific value
	ASTM D 4809 - 25


Site of assessment: Laboratory Permanent Premises, Megalopoli SES, UNIT 5, Arcadia, Greece
Approved signatories: M. Kontou
This Scope of Accreditation replaces the previous one dated 07.03.2025.
The Accreditation Certificate No. 494-8, to ELOT EN ISO/IEC 17025:2017, is valid until 07.01.2030.
Athens, 01.09.2026
Konstantinou Evangelos Apostolos

  CEO of ESYD
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