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HELLENIC ACCREDITATION SYSTEM




	Annex G1/5 to the Certificate No. 1302-3
SCOPE of ACCREDITATION 
of the

Biochemistry Department 
of the
LABZ Α to Ζ medical solutions
Private Diagnostic Laboratory S.A.


	Materials / Products tested
	Types of test / Properties measured
	Applied methods / Techniques used

	Biochemical Tests

	Blood serum
Blood serum
(continued)
	Determination of 66 parameters
	Automatic Systmes Cobas Pro Integrated Solutions, C503 (1&2&3), ISE (1&2&3), Ε801(1&2&3) Roche* Π1/4η/29.11.2023

	
	1.  Glucose (GLU)
	Enzymatic colorimetric reaction hexokinase (HK)

	
	2. Triglycerides (TGs)
	Enzymatic colorimetric reaction

	
	3. Total Cholesterol (CHOL)
	Enzymatic colorimetric reaction

	
	4.  Uric acid (UA)
	Enzymatic colorimetric reaction uricase-peroxidase

	
	5. Urea (UREA)
	Kinetic colorimetric urease

	
	6. Creatinine (CREA)
	Kinetic colorimetric JAFFE METHOD (compensated)

	
	7.  Total Lipids (TL)
	Calculated by CHOL and TGs

(Enzymatic colorimetric)

	
	8. Calcium total (CA)
	Colorimetric method NM BAPTA

	
	9. Phosphorus (P)
	Colorimetric method PHOSPHOMOLYBDATE

	
	10. Iron 
	Colorimetric method FERROZINE

	
	11. Total Protein (TP)
	Colorimetric method BIURET

	
	12. Albumin (ALB)
	Colorimetric method BROMOCRESOL GREEN

	
	13. Magnesium (Mg)
	Colorimetric method XYLIDYL BLUE

	
	14. Phospholipids (PL)
	Calculated by CHOL

(Enzymatic colorimetric)

	
	15. Serum glutamic-oxaloacetic transaminase (SGOT)
	Colorimetric method IFCC** with P-S-P

	
	16. Serum glutamic-pyruvic transaminase (SGPT)
	Colorimetric method IFCC** with P-S-P

	
	17. Gamma-glutamyl trasferase (GGT)
	Enzymatic colorimetric IFCC**

(Glutamyl-3-carboxy-4nitroanillide)

	
	18. Alkaline phosphatase (ALP)
	Colorimetric method liquid acc to IFCC**

	
	19. Creatinine kinase (CK/CPK)
	Enzymatic colorimetric method liquid IFCC**

	
	20. Lactate dehydrogenase (LDH)
	Colorimetric method liquid IFCC**

	
	21. Amylase (AMY)
	Enzymatic colorimetric method IFCC**

(G7-PNP)

	
	22. Globulins
	Calculated by TP and ALB

(Enzymatic colorimetric)

	
	23. HDL cholesterol (HDL-C)
	Homogeneous enzymatic colorimetric

	
	24. VLDL cholesterol (VLDL-C)
	Calculated by TGs

(Enzymatic colorimetric)

	
	25. Total Bilirubin (TBIL)
	Colorimetric method of diazonium (DPD)

	
	26. Direct Bilirubin (DBIL)
	Colorimetric method of diazonium (DPD)

	
	27. Indirect Bilirubin(IBIL)
	Calculated by TBIL and DBIL

(Colorimetric)

	
	28.  Potassium
	Potentiometric ISE

(ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution).

	
	29. Sodium
	Potentiometric ISE

(ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution).

	
	30. Chloride (Cl)
	Potentiometric ISE

(ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution).

	
	31. CK-MB (CK-MB a)
	Immunological UV assay

	
	32. Transferrin (Tf)
	Immunoturbidimetric assay

	
	33. High Sensitive C-reactive protein (hs CRP)
	Particle enhanced immunoturbidimetric assay

	
	34. C Reactive Protein (CRP)
	Particle‑enhanced immunoturbidimetric assay

	
	35. Total Lipids
	Calculated by CHOL and TGs

(Enzymatic colorimetric)

	
	36. Immunoglobulin A (IgA)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	37. Immunoglobulin G (IgG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	38. Immunoglobulin M (IgM)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	39. Immunoglobulin E (IgE)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	40. Complement C3  (C3)
	Immunoturbidimetric assay

	
	41. Complement C4 (C4)
	Immunoturbidimetric assay

	
	42. RA Test (RF)
	Immunoturbidimetric assay

	
	43. Antistreptolysin-O (ASTO)
	Immunoturbidimetric assay

	Blood serum
(continued)
	44. LDL cholesterol (LDL-C)
	Enzymatic colorimetric reaction (PEG)

	
	45. Apolipoprotein A1 (Apo A1)
	Immunoturbidimetric assay

	
	46. Apolipoprotein B (Apo B)
	Immunoturbidimetric assay

	
	47. Lipoprotein (a) [LP(a)]
	Immunoturbidimetric assay

	
	48. Urine phosphorus
	Colorimetric method

	
	49. Urine chlorides
	Potentiometric ISE

	
	50. Uric Acid Urine
	Enzymatic colorimetric reaction

	
	51. Urea Urine
	Kinetic colorimetric urease

	
	52. Magnesium urine
	Colorimetric method

	
	53. Glucose urine
	Enzymatic colorimetric reaction

	
	54. Amylase Urine
	Enzymatic colorimetric reaction

	
	55. Calcium Urine
	Kinetic colorimetric method

	
	56. Creatinine,Urine
	Kinetic colorimetric method

	
	57. Potassium Urine
	Potentiometric ISE

	
	58. Sodium Urine
	Potentiometric ISE

	
	59. Total Proteins Urine
	Turbidimetric assay

	
	60. Urine albumin
	Immunoturbidimetric assay

	
	61. HOMA-IR (Homeostatic Model Assessment for Insulin Resistance)
	Calculated by GLU and INS

	
	62. Serum Nitrogen
	Calculated by UREA

	
	63. Total Cholesterol/HDL Ratio
	Calculated by CHOL and HDL

	
	64. Serum Osmoticity
	Calculated by GLU and UREA

	
	65. Urine Osmoticity
	Calculated by GLU URINE and UREA URINE

	
	66. GFR (Glomerular filtration rate)
	Calculated by CREAT

	Blood serum
	Determination of 5 parameters
	Automatic System OCTA CAPILLARYS 3

	
	Serum Albumin Electrophoresis 

1. 1. (1) A1 Globulin 

2. 2. (2) A2 Globulin 
3. 3. (3) B Globulin 
4. 4. (4) C Globulin 
5. 5. (5) Albumin
	Electrophoresis

	Immunochemical  Tests

	Blood serum

	Determination of 67 parameters
	Automatic Systmes Cobas Pro Integrated Solutions, C503 (1&2&3), ISE (1&2&3), Ε801(1&2&3) Roche* Π1/4η/29.11.2023

	
	1. Ferritin
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	2. Prostate Specific Antigen (PSA)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	3. Thyrotropin Hormone (TSH)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	4. Thyroxin total (T4)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	5. Triidothyronine total (T3)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	6. Free Thyroxin (FT4)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	7. Free Triidothyronine (FT3)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	Blood serum
(continued)
	8. Troponin Τ (hs) (Tn-I (hs))
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	9. Alpha Fetoprotein (AFP)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	10. Carcinoembryonic antigen (CEA)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	11. Cancer antigen (CA 125)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	12. Cancer antigen (CA 15-3)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	13. Cancer antigen (CA 19-9)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	14. Free Prostatic Specific Antigen (FPSA)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	15. B2 Microsphere (B2M)
	Immunoturbidimetric assay

	
	16. Cortisol (CORT)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	17. β-Human Chorionic Gonadotropin (HCG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	18. Luteinizing Hormone (LH)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	19. Follicle Stimulating Hormone  (FSH)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	20. Estradiol (Ε2)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	21. Progesterone (PRG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	22. Prolactin (PRL)
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	23. Testosterone (TESTO)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	24. Follate (FOL)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	25. Vitamin B12 (B12)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	26. Thyroglobulin (TG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	27. Thyroid Autoantibodies Against Microsomal Antibodies (A-TPO)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	28. Antithyroglobulin Antibodies (A-TG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	29. NT-pro BNP - Pro-Brain Natriuretic Peptide (NT-pro BNP)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	30. 25 OH Vitamin D (25OHD)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	31. Sex hormone-binding globulin (SHBG)
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	32. Calcitonin
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	33. iPTH-Serum Parathyroid hormone
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	34. Homocysteine
	Immunoturbidimetric assay

	
	35. Insulin
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	36. DHEA-S Dehydroepiandrosterone sulfate
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	37. C peptide
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	38. HAV Total antibodies
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	39. Anti-HAV IgG
	Chemiluminescense (CLIA)

(Competitive)

	
	40. Anti-HAV IgM
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	41. Epstein Barr VCA IgG
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	42. Epstein Barr VCA IgM
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	43. Syphilis Total Antibodies
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	44. Hepatitis B e-Antigen (HBeAg)
	Chemiluminescense (CLIA)

(Competitive)

	
	45. Hepatitis B Surface Antigen (HBsAg)
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	46. Anti-HBe
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	47. Anti-HBs
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	48. HBc Total Antibodies
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	49. Anti-HBc IgM
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	50. HCV Total Antibodies
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	51. HIV I/II
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	52. Neuron-Specific Enolase (NSE)
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	53. Phenobarbital (Luminal,Gardenal,Kaneuron)
	Fluorescence polarization immunoassay


	
	54. Phenytoin (Epanutin)
	Fluorescence polarization immunoassay


	
	55. Digoxin
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	
	56. Valproic Acid (Depakine)
	Fluorescence polarization immunoassay


	
	57. Lithium
	Colorimetric method

	
	58. Free Androgen Index (FAI)
	Calculated by TESTO and SHBG

	Blood plasma (EDTA)
	59. ACTH- Adrenocorticotropic Hormone
	Electro-Chemiluminescense (ΕCLIA)

(Competitive)

	Blood serum
	60. 17-OH Progesterone
	Electro-Chemiluminescence (ECLIA) (competitive sandwich type) in SNIBE MAGLUMI X3

	
	61. D4 - Androstenedione
	Electro-Chemiluminescence (ECLIA) (competitive sandwich)

	
	62. hGH Human Growth Hormone
	Electro-Chemiluminescence (ECLIA) (Non-competitive sandwich type)

	
	63. AMH/MIS Anti-Müllerian hormone
	Electro-Chemiluminescence (ECLIA) (Non-competitive sandwich type)

	
	64. Somatomedin - C / SMC / IGF1
	Electro-Chemiluminescence (ECLIA) (Non-competitive sandwich type)

	Blood serum
(continued)
	65. Vitamin A (Retinol)
	Electro-Chemiluminescence (ECLIA) (competitive sandwich)

	
	66. Vitamin E (a-Tocopherol)
	Electro-Chemiluminescence (ECLIA) (competitive sandwich) in HPLC SHIMADZU

	
	67. Squamous cell carcinoma antigen (SCC)
	Double immunolabeling ("sandwich") principle

	Blood serum
	Determination of 1 parameter
	Snibe/Maglumi X3

	
	1. Aldosterone
	Chemiluminescense (CLIA)

(Competitive)

	Immunological  Tests

	Blood serum

	Determination of 7 parameters
	Automatic Systmes Cobas Pro Integrated Solutions, C503 (1&2&3), ISE (1&2&3), Ε801(1&2&3) Roche* Π1/4η/29.11.2023

	
	1. Toxoplasma IgM antibοdies (Toxo IgM)
	Electro-Chemiluminescense (ΕCLIA) (Competitive)

	
	2. Cytomegalovirus IgG antibodies (CMV IgG)
	Electro-Chemiluminescense (ΕCLIA) (Competitive)

	
	3. Cytomegalovirus IgM antibodies (CMV IgM)
	Electro-Chemiluminescense (ΕCLIA) (Competitive)

	
	4. Antibodies to Rubella virus IgM Ab (Rubella IgM)
	Electro-Chemiluminescense (ΕCLIA) (Competitive)

	
	5. Antibodies against herpes simplex virus 1 IgG (Herp. 1 IgG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	6. Antibodies against herpes simplex virus 2 IgG (Herp. 2 IgG)
	Electro-Chemiluminescense (ΕCLIA)

(non competitive type of sandwich)

	
	7. Anti ds - DNA
	SNIBE MAGLUMI X3

	Hematological Test

	Whole blood

(EDTA)
	Determination of  1 parameter
	TOSOH/HLC-723 G11

	
	1. Determination of glycated hemoglobin A1c (HbA1c)


	Immunological analysis

turbimetric inhibition (TINIA)

	Whole blood
(EDTA)
	Determination of  1 parameter
	ROCHE/Sysmex ΧΝ- 1000 SA-01

MINDRAY/BC-6200

	
	1. Complete Blood Count
	Flow cytometry

	
	White blood cells
	

	
	Red blood cells (RBC)
	

	
	Hemoglobin (HGB)
	

	
	Hematocrit (HCT)
	

	
	Mean erythrocyte volume (MCV)
	

	
	Mean Hb content (MCH)
	

	
	Mean Hb Concentration (MCHC)
	

	
	Platelets (PLT)
	

	Coagulation Tests

	Blood plasma (Citrate)


	Determination of 7 parameters
	WERFEN/ACL TOP   350 CTS

	
	1. Prothrombin time (PT)
	Coagulopathy

	
	2. Prothrombin time -INR (INR)
	Coagulopathy

	
	3. Activated partial prothrombine time (PTT)
	Coagulopathy

	
	4. Fibrinogen (FIB)
	Coagulopathy

	
	5. Antithrombin ΙΙΙ (AT III)
	Activity

	
	6. Protein C
	Colorimetric method

	
	7. Protein S
	Immunoturbidimetric assay

	Allergy Tests

	Blood serum
Blood Serum
(continued)
	Determination of 86 parameters
	SIEMENS/IMMULITE 2000

	
	1. f76 Alpha-Lactalbumin 
	Chemiluminescense (CLIA) 

	
	2. f20 Almond 
	Chemiluminescense (CLIA) 

	
	3. m6 Altemaria tenuis (altemata)
	Chemiluminescense (CLIA) 

	
	4. c50 Ampicillin
	Chemiluminescense (CLIA) 

	
	5. w6 Mugwort Sagebrush 
	Chemiluminescense (CLIA) 

	
	6. m3 Aspergillus fumigatus
	Chemiluminescense (CLIA) 

	
	7. f237 Apricot 
	Chemiluminescense (CLIA) 

	
	8. f77 Beta-Lactoglobulin 
	Chemiluminescense (CLIA) 

	
	9. g9 Red Top 
	Chemiluminescense (CLIA) 

	
	10. f18 Brazil Nut 
	Chemiluminescense (CLIA) 

	
	11. m5 Candida albicans
	Chemiluminescense (CLIA) 

	
	12. m2 Cladosporium spp.
	Chemiluminescense (CLIA) 

	
	13. t23 Cypress 
	Chemiluminescense (CLIA) 

	
	14. g2 Bermuda Grass 
	Chemiluminescense (CLIA) 

	
	15. f158 Cashew-Nut 
	Chemiluminescense (CLIA) 

	
	16. w10  Lambs quarter,Goosefoot 
	Chemiluminescense (CLIA) 

	
	17. f3 Codfish 
	Chemiluminescense (CLIA) 

	
	18. d2 D.farinae 
	Chemiluminescense (CLIA) 

	
	19. w9 English Plantain 
	Chemiluminescense (CLIA) 

	
	20. d1 D.pteronyssinus 
	Chemiluminescense (CLIA) 

	
	21. GX2 (G2-G5-G6-G8-G10-G17)
	Chemiluminescense (CLIA) 

	
	22. GX1 (G3,G4,G5,G6,G8)
	Chemiluminescense (CLIA) 

	
	23. f17 Hazelnut 
	Chemiluminescense (CLIA) 

	
	24. f78 Casein 
	Chemiluminescense (CLIA) 

	
	25. k82 Latex 
	Chemiluminescense (CLIA) 

	
	26. g5 Perennial Rye Grass 
	Chemiluminescense (CLIA) 

	
	27. w21 Wall pellitory 1 
	Chemiluminescense (CLIA) 

	
	28. w19 Parietaria officinalis 
	Chemiluminescense (CLIA) 

	
	29. g6 Timothy Grass 
	Chemiluminescense (CLIA) 

	
	30. T14 Cottonwood tree
	Chemiluminescense (CLIA) 

	
	31. f13 Peanut 
	Chemiluminescense (CLIA) 

	
	32. g12 Cultivated Rye 
	Chemiluminescense (CLIA) 

	
	33. f24 Shrimp 
	Chemiluminescense (CLIA) 

	
	34. f25 Tomato 
	Chemiluminescense (CLIA) 

	
	35. g1 Sweet Vernal Grass 
	Chemiluminescense (CLIA) 

	
	36. F59 Octapus
	Chemiluminescense (CLIA) 

	
	37. f1 Egg White 
	Chemiluminescense (CLIA) 

	
	38. f4 Wheat flour 
	Chemiluminescense (CLIA) 

	
	39. f2 Milk 
	Chemiluminescense (CLIA) 

	
	40. f79 Gluten/Gliadin 
	Chemiluminescense (CLIA) 

	
	41. t9 Olive 
	Chemiluminescense (CLIA) 

	
	42. e1 Cat Epithelia 
	Chemiluminescense (CLIA) 

	
	43. e2 Dog Hair 
	Chemiluminescense (CLIA) 

	
	44. f93 Cacao 
	Chemiluminescense (CLIA) 

	
	45. i6 German Cockroach 
	Chemiluminescense (CLIA) 

	
	46. f83 Chicken meat 
	Chemiluminescense (CLIA) 

	
	47. f75 Egg Yolk 
	Chemiluminescense (CLIA) 

	
	48. i71 Mosquito 
	Chemiluminescense (CLIA) 

	
	49. i1 Honey Bee Venom 
	Chemiluminescense (CLIA) 

	
	50. f27 Beef 
	Chemiluminescense (CLIA) 

	
	51. f92 Banana 
	Chemiluminescense (CLIA) 

	
	52. c1 Penicilloyl G
	Chemiluminescense (CLIA) 

	
	53. Penicilloyl V
	Chemiluminescense (CLIA) 

	
	54. t16 White Pine 
	Chemiluminescense (CLIA) 

	
	55. e5 Dog Dander 
	Chemiluminescense (CLIA) 

	
	56. f84 Kiwi 
	Chemiluminescense (CLIA) 

	
	57. ΜΧ1 (m1 m2 m3 m5 m6)
	Chemiluminescense (CLIA) 

	
	58. f95 Peach 
	Chemiluminescense (CLIA) 

	
	59. f9 Rice 
	Chemiluminescense (CLIA) 

	
	60. h1 House Dust Greer
	Chemiluminescense (CLIA) 

	
	61. f52 Chocolate 
	Chemiluminescense (CLIA) 

	
	62. f10 Sesame bruised grain 
	Chemiluminescense (CLIA) 

	
	63. i3 Wasp Venom 
	Chemiluminescense (CLIA) 

	
	64. i5 Yello Homet 
	Chemiluminescense (CLIA) 

	
	65. f258 Squid 
	Chemiluminescense (CLIA) 

	
	66. f44 Strawberry
	Chemiluminescense (CLIA) 

	
	67. t4 Hazelnut 
	Chemiluminescense (CLIA) 

	
	68. f26 Pork
	Chemiluminescense (CLIA) 

	
	69. m1 Penicillium Notatum
	Chemiluminescense (CLIA) 

	
	70. FX1 Nut mix 1
	Chemiluminescense (CLIA) 

	
	71. i10 Paper Wasp 
	Chemiluminescense (CLIA) 

	
	72. p1 Ascaris
	Chemiluminescense (CLIA) 

	
	73. I2  White-faced wasp
	Chemiluminescense (CLIA) 

	
	74. c56  Amoxycillin
	Chemiluminescense (CLIA) 

	
	75. f233 nGal d 1 Ovomucoid, Egg
	Chemiluminescense (CLIA) 

	
	76. f16 Walnut 
	Chemiluminescense (CLIA) 

	
	77. f235 Lentil
	Chemiluminescense (CLIA) 

	
	78. i75 - European hornet
	Chemiluminescense (CLIA) 

	
	79. 2 f309 - Chick Pea
	Chemiluminescense (CLIA) 

	
	80. f242 - Cherry
	Chemiluminescense (CLIA) 

	
	81. f144 Pistachio nut
	Chemiluminescense (CLIA) 

	
	82. sx2 Paprika 
	Chemiluminescense (CLIA) 

	
	83. s7 Black Pepper 
	Chemiluminescense (CLIA) 

	
	84. f201 Pecan nut 
	Chemiluminescense (CLIA) 

	
	85. p4 Anisakis
	Chemiluminescense (CLIA) 

	
	86. f232 nGal d 2 Ovalbumin, Egg
	Chemiluminescense (CLIA) 

	
	Determination of 5 parameters
	AZBIL TELSTAR Technologies S.L.U/BioII Advanced Plus 4

MagCore/MagCore Plus II Automated Nucleic Acid Extractor

Sacace/SaCYCLER-96

	Whole blood

(EDTA)
	1. Detection of the FII mutation (Prothrombin G20210A)
	Real Time PCR

KIT FII PROTHROMBIN (G20210A) SNP SCREEN SACACE BIOTECHNOLOGIES

	
	2. Detection of the FV mutation (LEIDEN G1691A)
	Real Time PCR

KIT FV (G1691A) SNP LEIDEN SCREEN SACACE BIOTECHNOLOGIES

	
	3. Detection of the MTHFR mutation (A1298C)
	Real Time PCR

 KIT MTHFR (A1298C) SNP SCREEN SACACE BIOTECHNOLOGIES

	
	4. Detection of the MTHFR mutation (C677T)
	Real Time PCR

KIT MTHFR (C677T) SNP SCREEN SACACE BIOTECHNOLOGIES

	
	5. Detection of the APOE mutation (E2,E3,E4)
	Real Time PCR

KIT GB GENETIC APOE GENERI BIOTECH

	
	Determination of 2 parameters
	AZBIL TELSTAR Technologies S.L.U/BioII Advanced Plus 4

MagCore/MagCore Plus II Automated Nucleic Acid Extractor

Sacace/SaCYCLER-96

	Whole blood

(EDTA)
	6. Detection of the HLA-B27 Histocompatibility Antigen allele
	Real Time PCR

KIT HLA B27 REAL TIME PCR KIT- SNP BIOTECHNOLOGY

	Blood plasma (EDTA)


	7. Detection and Quantification of Hepatitis B Virus (HBV)
	Real Time Quantitative PCR

HBC REA-TM QUANT DX KIT-SACACE BIOTECHNOLOGIES

	
	Determination of 3 parameters
	AZBIL TELSTAR Technologies S.L.U/BioII Advanced Plus 4

MagCore/MagCore Plus II Automated Nucleic Acid Extractor

Sacace/SaCYCLER-96

	Blood plasma (EDTA)
	8. Detection and Quantification of Hepatitis C Virus (HCV)
	Reverse Transcription/Real Time Quantitative PCR

	Smear or urine or semen

	9. Detection of Chlamydia trachomatis
	Real Time PCR
KIT N.GONORRHOEAE/ C.TRACHOMATIS/M. GENITALIUM/ T. VAGINALIS REAL TM KIT- SACACE BIOTECHNOLOGIES

	
	10. Detection of Chlamydia trachomatis- Neisseria Gonorroeae
	Real Time PCR

KIT N.GONORRHOEAE/ C.TRACHOMATIS/M. GENITALIUM/ T. VAGINALIS REAL TM KIT- SACACE BIOTECHNOLOGIES

	
	Determination of 1 parameter
	AZBIL TELSTAR Technologies S.L.U/BioII Advanced Plus 4

Illumina/ISeq tm 100

Qiagoen/ QIAamplifier 96

Thermo Fischer Scientific/ Flurometer Qubit tm4

MagCore/MagCore Plus II Automated Nucleic Acid Extractor

	Whole blood

(EDTA)
	11. Detection of CFTR gene mutations (Cystic Fibrosis)
	PCR&Sequencing(NGS)

KIT DYVESER CFTR

	
	Determination of 1 parameter
	

	CERVICAL liquid phase cytology sample or URETHRAL or SEMEN + FIRST DROPS of first morning urination
	Detection and typing of HPV 29 high, intermediate and low risk strains: 16, 18, 26, 31, 33, 35, 39, 45, 51, 52, 53, 56, 58, 59, 66, 67, 68, 69, 70, 73, 82, 6, 11, 40, 42, 43, 44, 54, 61
	Bio II Advanced Plus 4

Automated Nucleic Acid Extraction System Mole 32M

CFX96 Optics Module

	
	Determination of 1 parameter
	

	VAGINAL liquid phase cytology sample or URETHRAL or SEMEN or URINE
	STD pathogens panel 14 fixed

1. Chlamydia trachomatis 

2. Ureaplasma parvum 

3. Trichomonas vaginalis

 4. Mycoplasma genitalium

 5. Mycoplasma hominis 

6. Neisseria gonorrhoeae

7. Ureaplasma urealyticum

 8. Haemophilus ducreyi 

9. Gardnerella vaginalis 

10. Candida albicans 

11. Treponema pallidum Viruses 

12. Herpes simplex virus 1 

13. Herpes simplex virus 2 
14. Group B streptococci
	Bio II Advanced Plus 4

MagCore Plus II Automated Nucleic Acid Extractor

CFX96 Optics Module

	
	Determination of 1 parameter
	

	Whole blood

(EDTA)
	Molecular Thrombophilia Panel 13 

1. Prothrombin FΙΙ (G20210A) 

2. FV LEIDEN G1691A 

3. FVR2 (H1299R) 

4. FXIII (V34L mutation) 

5. MTHFR (C677T homocysteine ​​mutation) 

6. MTHFR (A1298C homocysteine ​​mutation) 

7. GPIa C807T mutation (HPA5) 

8. GPIIIa - Fibrinogen Receptor (HPA-1) Glycoprotein (GPIIIa 1565 T/C Polymorphism) 

9. Polymorphism - 675 5G/4G Plasminogen Activator Inhibitor (PAI)-1 mutation 

10. Apolipoprotein genotyping (T112C mutation and T158C mutation) 

11. Apolipoprotein B (R3500Q) 

12. Angiotensin I-like converting enzyme (ACE, insertion/deficiency (I/D) polymorphism) 

13. β-fibrinogen (-455 G>A mutation)
	Bio II Advanced Plus 4

MagCore Plus II Automated Nucleic Acid Extractor

QIAamplifier 96
DYNA-BLOT HEAT


*Reference to the commercial name of a specific analyzer/kit, refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry
***DGKC: Deutsche Geselschaft fur Klinusche Chemie
Site of assessment: Laboratory permanent premises, 7 Giannopoulou str, Neo Faliro
Piraeus, Greece.
Approved signatories: Kontaxi Sofia. 
This Scope of Accreditation replaces the previous one dated 02.07.2026.

The Accreditation Certificate No. 1302-3 to ELOT EN ISO 15189:2022, is valid until 13.07.2031.
Athens, 16th of September 2026          
 






Konstantinou Evangelos Apostolos                                                                                   CEO of ESYD
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