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HELLENIC ACCREDITATION SYSTEM





	Annex F1Α/16 to the Certificate No.751-5 
SCOPE of ACCREDITATION
of   the
Measurements and Calibration Laboratory
of 
ESTIA Consulting & Engineering S.A.

for the performance of environmental measurements and sampling




	Tested materials/ products
	Types of test/ Properties to be  measured
	Applied Standards/ Techniques to be used

	                                                                  Sampling


	1. Stack emissions from stationary sources


	1. Sampling for the determination of the mass concentration of individual gaseous organic compounds
	TSI 13649:2014

	
	2. Sampling for the determination of mass concentration of gaseous chlorides expressed as HCl 
	ΕLOT EN 1911:2010



	
	3. Sampling for the determination of mass concentration of gaseous fluorine compounds 
	ISO 15713:2006



	
	4. Sampling for the determination of the total emission of As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Ti, V and Fe.
	ELOT ΕΝ 14385:2004*


	
	5. Sampling for the determination of mass concentration of  NOx
	US EPA Method 7D (as in force)

	
	6. Sampling for the determination of of mass concentration of SO2
	ΕΝ14791:2017

	
	
	

	2. Stack emissions from stationary sources


	1. Sampling and determination of mass concentration of particulate patter
	ΕΝ13284-1:2017

ISO 9096:2017

	
	2. Measurement of velocity and volume flow rate of
gas streams in ducts


	ISO 10780:1994

	
	3. Determination of the water vapour in ducts
	ΕΝ14790:2017

	
	4. Determination of smoke spot number

	ΕLOΤ 525.1:1980


*EN 14385:2004 is obsolete, as it has been replaced by EN 14385:2025, at the request of the laboratory.
Site of assessment:   Laboratory permanent premises, 1st km Thermi-Makedonia Airport, P.O.Box 60649, 57001 Thermi-Thessaloniki, Greece.

Approved signatories: D. Konstantinidis, I. Hatzidimitriou, D. Mavrodis 

The assessment for the test and sampling actrivities stack emissions  was made according to the requirements of  ELOT ISO/IEC 17025:2005 as further specified in ELOT CEN/TS 15675:2008.

      This Scope of Accreditation replaces the previous one dated 25.04.2025.
The Accreditation Certificate No.751-5   to ELOT EN ISO/IEC 17025:2017, is valid until 19.06.2028.
    Athens, 19.10.2026
Konstantinou Evaggelos-Apostolos

 CEO of ESYD



	








	
	
	


	

	
	
	


	
	
	











Sampling





Sampling and Physical tests








Page 1  of 3                Αnnex F1Α/16, to the Certificate ESYD No.751-5                19.10.2026

